## Slide 1: Pulmonary Case 1
Mark Tuttle, MD
Monday, September 19, 2016

## Slide 2
51 ♀ presents to your clinic with the complaint of rash. She developed these tender, warm nodules on her bilateral calves over the last month.
Describe what you see.
What is your diagnosis?
Mini-case
Notes: Tender, warm nodules, present for the last 2-3 weeks.

## Slide 3: Erythema Nodosum: Etiologies
Chart: 
| Streptococcal infection | Sarcoidosis | Various infections | Enteropaties | Tuberculosis | Idiopathic
Sales | 0.28 | 0.108 | 0.039 | 0.015 | 0.008 | 0.55
Cribier et al. International Journal of Dermatology. 1998.
Notes: EN and hilar adenopathy: Sarcoidosis, TB, histoplasmosis
EN and GI symptoms: IBD, Bechets, Whipple’s Disease
Cribier B, Caille A, Heid E, Grosshans E. Erythema nodosum and associated diseases. A study of 129 cases. Int J Dermatol. 1998;37(9):667-72.

## Slide 4
Pathology Report
Septal panniculitis with mixed cellular infiltrate of lymphocytes, histiocytes, giant cells, and occasional eosinophils Neutrophilic vasculitic infiltrate This specimen consistent with erythema induratum
Notes: http://www.dermpedia.org/dermpedia-textbook/erythema-induratum

## Slide 5: Erythema Nodosum vs. Induratum
Erythema Nodosum
Histology
  Septal panniculitis
  No vasculitis
  No ulceration
Treatment
  Treat underlying cause
  NSAIDs
  Colchicine
Erythema Induratum
Histology
  Septal panniculitis
  Neutrophilic vasculitis
  Ulceration
Treatment
  Treat underlying cause
  Dapsone
Notes: http://www.dermnetnz.org/pathology/erythema-nodosum-path.htm
Gilchrist H, Patterson JW. Erythema nodosum and erythema induratum (nodular vasculitis): diagnosis and management. Dermatol Ther. 2010;23(4):320-7.l

## Slide 6: Erythema Induratum: Etiologies
Chart: 
| Tuberculosis | Superficial thrombophlebitis | Rheumatoid arthritis | Crohn's Disease | CLL | Hepatitis B | Hepatitis C | Idiopathic
Etiology | 0.14 | 0.04 | 0.01 | 0.01 | 0.03 | 0.05 | 0.06 | 0.66
Segura et al. Journal of the American Academy of Dermatology. 2008.
Notes: Segura S, Pujol RM, Trindade F, Requena L. Vasculitis in erythema induratum of Bazin: a histopathologic study of 101 biopsy specimens from 86 patients. J Am Acad Dermatol. 2008;59(5):839-51.

## Slide 7: History of present illness
51 ♀ presents with dyspnea. For the past 1.5 weeks she has been feeling mildly short of breath. She works as an RN and decided to check her own O2 sat and found it was 88% on room air, so she came to your office to be evaluated.
Review of systems:
Recently diagnosed with erythema induratum by her dermatologist

## Slide 8
Past Medical History:
Erythema induratum
Melanoma (stage IIIA), treated with interferon, lymph node dissection
Asthma
Grave’s Disease s/p radioactive iodine ablation
Nephrolithiasis
Allergies:
NKDA
Social History:
Occupation: Works as an RN
Tobacco: Never.
Alcohol: 2-3 glasses of wine per week.
Illicits: Never.
Family History:
No history of familial disease

## Slide 9: Medications
Dapsone 100mg QD
Levothyroxine Sodium 88 mcg QD
Vitamin D 1000 U QD

## Slide 10: Physical Examination
T 98.7 F HR 92 BP 123/78 RR 12
SpO2 89% on room air at rest
SpO2 88% with ambulation
SpO2 93% on 3L nasal cannula
General: Appears well.
HEENT: Lips dusky in appearance
Chest: Clear throughout. No accessory muscle use.
Heart: RRR, no m/r/g
Extremities: Pitting edema of the left leg to the mid calf. Healed surgical scar on the left. There are palpable tender nodules on her bilateral calves.
Notes: http://int-prop.lf2.cuni.cz/zof/avysetreni/ahlavakrk.htm
Changed HR

## Slide 11
Impression
No acute intrathoracic process

## Slide 12: Labs
135 | 100 | 16
4.2 | 24 | 0.7
Hemolysis: Reticulocytes 3.8%, haptoglobin <5, D-dimer 363 (<500 is normal)
Ca: 9.1
Mg: 2.0
P: 3.8
Liver Function Tests: ALT 27, AST 26, LDH 299, T-bili 2.2, D-bili 0.4
5.5
33
244
11.4
Lactate: 3.0
91% PMN, 2% lymph, 6.5% mono
MCV 90, MCHC 33
Baseline 13
Blood gases: 7.42 / 35 / 81, 7.41 / 43 / 155 Calc SpO2 100%
MetHb 8%
LENIs: Negative for DVT

## Slide 13: Labs?

## Slide 14: Pair up!
What are your top 3 differential diagnoses for the cause of hypoxemia?
What are your next steps in management?
51 ♀ with a history of melanoma, Grave’s disease, recent diagnosis of erythema induratum presents with progressive hypoxia over the last 1.5 weeks
T 98.7 F HR 92 BP123/78 RR 12 SpO2 89% RA

## Slide 15: Gas Exchange
PAO2
PaO2
SaO2
Alveolus
Blood Vessel
Notes: 7.41 / 43 / 155
PAO2=FIO2(700)-1.2(PaCO2) = 0.3*700 – 1.2*43 = 160
FIO2 estimation = 21 + (Nasal_cannula_O2 * 3)

## Slide 16: Hemoglobin dissociation curve
Chart: pO2 (mmHg)
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
Normal | 0 | 0.08 | 0.2 | 0.5 | 0.7 | 0.82 | 0.88 | 0.91 | 0.95 | 0.98 | 1
Left-shift | 0.2 | 0.3 | 0.55 | 0.75 | 0.9 | 0.94 | 0.98 | 1
Right-shift | 0 | 0.08 | 0.2 | 0.5 | 0.7 | 0.79 | 0.82 | 0.85 | 0.95
Left Shift:
↓ Temperature
↓ 2,3 DPG
↓ H+
COHb
Right Shift:
↑ Temperature
↑ 2,3 DPG
↑ H+
Notes: Left shift: decreased temp, decreased 2,3-DPG, decreased H+, CO
Right shift: increased temp, increased 2-3-DPG, increased H+

## Slide 17: Co-oximetry
Oxyhemoglobin: 90%
Methemoglobin: 8%
Carboxyhemoglobin: 0%

## Slide 18: Pulse Oximetry
Chart: Wavelength (nm)
| 600 | 620 | 660 | 680 | 700 | 720 | 740 | 760 | 780 | 800 | 820 | 840 | 860 | 880 | 900 | 920 | 940 | 960 | 980 | 1000
DeoxyHb | 2.5 | 2.1 | 2 | 1.94 | 1.84 | 1.8 | 1.78 | 1.7 | 1.8 | 1.4 | 1.37 | 1.34 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 | 0.9 | 0.8 | 0.7
OxyHb | 2 | 1.4 | 1 | 1.05 | 1.1 | 1.15 | 1.2 | 1.25 | 1.3 | 1.35 | 1.4 | 1.4 | 1.42 | 1.44 | 1.46 | 1.46 | 1.48 | 1.5 | 1.46 | 1.422
MetHb | 2.5 | 2.6 | 2 | 1.3 | 1.2 | 1.3 | 1.35 | 1.37 | 1.4 | 1.45 | 1.52 | 1.6 | 1.68 | 1.76 | 1.8 | 1.92 | 1.94 | 1.96 | 1.98 | 1.98
CoHb | 2 | 1.4 | 0.8 | 0.7 | 0.6 | 0.5 | 0.4 | 0.35 | 0.32 | 0.3 | 0.28 | 0.26 | 0.2 | 0.15 | 0.1 | 0
MetHb
OxyHb
DeoxyHb
COHb
660 nm (red)
940 nm (infrared)
Adapted from: Konig and Dolinski. Chest. 2003.
SpO2 determined by ratio of red/infrared
Low R/IR  high SpO2
High R/IR  low SpO2
Notes: R/IR of 0.5: 100% SpO2, 1.0: 82% SpO2, 2.0: 0% SpO2
MetHb: At low MetHb % of blood, gives falsely low SpO2, SaO2 may or may not be low
  At higher Met Hb % of blood, gives falsely elevated SpO2 readings. Approaches plateau 85%.
CoHb: Gives falsely elevated SpO2 at all CoHb % of blood levels
König MW, Dolinski SY. A 74-year-old woman with desaturation following surgery. Co-oximetry is the first step in making the diagnosis of dyshemoglobinemia. Chest. 2003;123(2):613-6.

## Slide 19: Signs and Symptoms of MetHb
% MetHb | Symptoms
10% | None
10-20% | Cyanotic skin discoloration
20-30% | Anxiety, lightheadedness, headache
30-50% | Confusion, tachypnea, tachycardia
50-70% | Coma, seizures, arrhythmia, acidosis
>70% | Death
Wright et al. Annals of Emergency Medicine. 1999.
Signs
Hemolysis
Bite cells and Heinz bodies on blood smear
Notes: Wright RO, Lewander WJ, Woolf AD. Methemoglobinemia: etiology, pharmacology, and clinical management. Ann Emerg Med. 1999;34:646-56

## Slide 20
MetHb
OxyHb
Donnelly. TheNew England Journal of Medicine. 2000.

## Slide 21: Heinz Prep
Blood smear
Notes: Bite cells from macrophages removing abnormal Hb
Heinz bodies, showing precipitated hemoglobin
Chapter 41: HEMOGLOBIN VARIANTS ASSOCIATED WITH HEMOLYTIC ANEMIA, ALTERED OXYGEN AFFINITY, AND METHEMOGLOBINEMIAS. Edward Benz Hematology: Basic Principles and Practice

## Slide 22: Methemoglobinemia
Fe2+
Fe3+
Cytochrome B5 reductase
NADPH MetHb reductase
NADH
NAD+
NADPH
NADP+

## Slide 23: Methemoglobinemia
Underlying cause
Dapsone (most common)
Topical anesthetic (common, most severe)
Nitrates
Anti-epileptics (phenytoin, valproate)

## Slide 24: Treatment of MetHb
Proven therapies
  Methylene blue (with dextrose)
  Hyperbaric oxygen
  Exchange transfusion
Experimental therapies
  N-acetylcysteine (works in vivo)
  Cimetidine (works in chronic dapsone metHb)
  Ketoconazole
Rehman. Western Journal of Medicine. 2001.
Notes: Rehman HU. Methemoglobinemia. West J Med. 2001;175(3):193-6.

## Slide 25: Should we give her methylene blue?

## Slide 26: Methemoglobinemia
Fe3+
Cytochrome B5 reductase
NADPH MetHb reductase
NADH
NAD+
NADPH
NADP+
Pentose phosphate pathway
G6PD
Fe2+
Notes: Methylene blue oxidizes NADPH to NADP+, but in the absence of NADPH, it oxidizes Fe2 to Fe3
https://www.pharmgkb.org/pathway/PA165980834

## Slide 27: Learning points
Erythema induratum mimics erythema nodosum, but is associated with TB and cutaneous vasculitis
Suspect a dyshemoglobinemia (MetHb, COHb, SulfaHb) when there is a “saturation gap” between measured SpO2 and ABG-calculated SpO2
Mild methemoglobinemia can be observed
Severe, methemoglobinemia should be treated with methylene blue, but take caution in G6PD deficiency